## Sheet1
ID | TAG | Estado | Nº Oferta | Nº Pedido | PO | Posición | Subposición | Tipo | Tipo TW | Tamaño | Rating | Facing | Standard TW | Material TW | Long. STD (mm) | Long. Ins. (mm) | Ø Raíz (mm) | Ø Punta (mm) | Sensor | Material Sheath/Stem | Ø Sheath/Stem (mm) | Insulation | Temp Inf (ºC) | Temp Sup ºC | Material Nipple Ext. | Long. Nipple Ext. (mm) | Material Head/Case | Con. Elec./Diam. Case | TT/Terminal Insulation | Material Brida LapJoint | Material Junta | Puntal | Tubo | NACE | Notas Oferta | Cambio Comercial | Fecha Contractual | Stress | Geometría | Long. Cónica (mm) | Long. Recta (mm) | Ø Picaje (mm) | Notas Cálculo | Cambios Técnicos | Notas Técnicas | Nº Doc. EIPSA Cálculo | Estado Cálculo | Fecha Estado Cálculo | Nº Doc. EIPSA Plano | Estado Plano | Fecha Estado Plano | Notas Planos | Orden de Compra | Fecha Orden Compra | Notas Orden Compra | Plano Dimensional | Plano OF Sensor | Fecha OF Sensor | Notas Sensor | Estado Fabricación Sensor | Plano OF TW | Fecha OF TW | Notas TW | Estado Fabricación TW | Colada Barra | Cert. Barra | Colada Brida | Cert. Brida | Long. Corte TW (mm) | Cota A Sensor (mm) | Cota B Sensor (mm) | Cota L Sensor (mm) | Tapón | Estado Fabricación | Inspección | Fecha Inspección | Envío RN | Fecha RN | Fecha PMI | Fecha PH1 | Fecha PH2 | Fecha LP | Fecha Dureza | Fecha Verif. Dim. | Fecha Verif. OF | Fecha Verif. OF Sensor | Fotos | Fotos 2
id_tag_temp | tag | tag_state | num_offer | num_order | num_po | position | subposition | item_type | tw_type | size | rating | facing | std_tw | material_tw | std_length | ins_length | root_diam | tip_diam | sensor_element | sheath_stem_material | sheath_stem_diam | insulation | temp_inf | temp_sup | nipple_ext_material | nipple_ext_length | head_case_material | elec_conn_case_diam | tt_cerblock | material_flange_lj | gasket_material | puntal | tube_t | nace | offer_notes | commercial_changes | contractual_date | stress | geometry | conical_length | straigth_length | nozzle_diam | calculation_notes | technical_changes | technical_notes | calc_num_doc_eipsa | calc_state | calc_state_date | dwg_num_doc_eipsa | dwg_state | dwg_state_date | dwg_notes | purchase_order | purchase_order_date | purchase_order_notes | dim_drawing | of_sensor_drawing | of_sensor_date | notes_sensor | fab_sensor_state | of_drawing | of_date | notes_tw | fab_tw_state | heat_number_bar | cert_bar | heat_number_flange | cert_flange | length_cut_tw | dim_a_sensor | dim_b_sensor | dim_l_sensor | plug | fab_state | inspection | irc_date | rn_delivery | rn_date | pmi_date | ph1_date | ph2_date | lp_date | hard_date | final_verif_dim_date | final_verif_of_eq_date | final_verif_of_sensor_date | tag_images | tag_images2
519 | 10TE 0018N | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 10 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-10TE0018N-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-10TE0018N-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 01/58 | OF-02 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_074802167_AE.jpg
520 | 10TE 0022N | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 20 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-10TE0022N-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-10TE0022N-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 02/58 | OF-02 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_074943957_AE.jpg
573 | 10TE 1501 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 550 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 381 | 305 | 35 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | 11/10/24 ECI CAMBIO VELOCIDADES | 04-11-24 email en hold igual no lo necesitan // VAINA CON STRESS ø35 A ø22 | 04-11-24 IGUAL LO SACAN DEL ALCANCE | V-23BLFE01A-2206-400-10TE1501-CAL-001 | APROBADO REV 3 | 03/02/2025 | V-23BLFE01A-2206-400-10TE1501-DWG-001 | APROBADO REV 2 | 10/02/2025 |  |  |  |  | 03/58 | OF-02 | 13/09/2024 |  |  | OF-21 | 10/02/2025 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 12/02/2025 | 12/02/2025 | 12/02/2025 |  | 24/02/2025 | 12/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075114491_AE.jpg
575 | 10TE 1502 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 570 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 381 | 305 | 35 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | 11/10/24 ECI CAMBIO VELOCIDADES | 04-11-24 email en hold igual no lo necesitan // VAINA CON STRESS ø35 A ø22 | 04-11-24 IGUAL LO SACAN DEL ALCANCE | V-23BLFE01A-2206-400-10TE1502-CAL-001 | APROBADO REV 3 | 03/02/2025 | V-23BLFE01A-2206-400-10TE1502-DWG-001 | APROBADO REV 2 | 10/02/2025 |  |  |  |  | 04/58 | OF-02 | 13/09/2024 |  |  | OF-21 | 10/02/2025 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 12/02/2025 | 12/02/2025 | 12/02/2025 |  | 24/02/2025 | 12/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075244379_AE.jpg
521 | 15TE 1501 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 30 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 05-11-24 CAMBIO RATING 600# |  | V-23BLFE01A-2206-400-15TE1501-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-15TE1501-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 05/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075335488_AE.jpg
522 | 15TE 1510 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 40 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 1176 | 1100 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | CAMBIA A 600# / 04-11-24 HOLD // CAMBIA A LONGITUD U=1100 | CAMBIA A 600# / 04-11-24 HOLD | V-23BLFE01A-2206-400-15TE1510-CAL-001 | COMENTADO |  | V-23BLFE01A-2206-400-15TE1510-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 06/58 | OF-03 | 13/09/2024 |  |  | OF-18 | 13/09/2024 | [6 empty] | 841 | 820 | 985 | 1065 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075423603_AE.jpg
523 | 15TE 1511 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 50 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 301 | 225 | 35 | 33 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | PDE APROBACIÓN | 05-11-24 CAMBIO RATING 600# |  | V-23BLFE01A-2206-400-15TE1511-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-15TE1511-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 07/58 | OF-01 | 13/09/2024 |  |  | OF-05 | 13/09/2024 | [6 empty] | 316 | 295 | 460 | 540 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075634035_AE.jpg
524 | 15TE 1512 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 60 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 30 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | PDE APROBACIÓN | 05-11-24 CAMBIO RATING 600# |  | V-23BLFE01A-2206-400-15TE1512-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-15TE1512-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 08/58 | OF-01 | 13/09/2024 |  |  | OF-08 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 584 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075717490_AE.jpg
525 | 15TE 1513 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 70 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 05-11-24 CAMBIO RATING 600# |  | V-23BLFE01A-2206-400-15TE1513-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-15TE1513-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 09/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_075814851_AE.jpg
526 | 15TE 1514 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 80 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 05-11-24 CAMBIO RATING 600# |  | V-23BLFE01A-2206-400-15TE1514-CAL-001 | COM DEVUELTO SIN TRANSMITTAL | 05/11/2024 | V-23BLFE01A-2206-400-15TE1514-DWG-001 | DEVUELTO SIN TRANSMITTAL | 05/11/2024 |  |  |  |  | 10/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_083831001_HDR_AE.jpg
527 | 15TE 1515 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 90 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | CAMBIA BRIDA A 600# |  | V-23BLFE01A-2206-400-15TE1515-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1515-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 11/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_084048726_AE.jpg
528 | 15TE 1516 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 100 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1516-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1516-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 12/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085017888_AE.jpg
3515 | 15TE 1516A | PURCHASED | P-24/054 | P-24/054-S01 | 7070000087 | 620 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF |  | AISI-316/316L | 254 | 330 | 30 | 22 | PT100 Single (4 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 24/04/2025 | SI | CÓNICA | 254 | 0 |  |  | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD | PT-100 SIMPLE 4 HILOS | [10 empty] | 01/05 | OF-01/02 | 26/02/2025 | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD |  | OF-02/02 | 26/02/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 07/04/2025 | 07/04/2025 | 07/04/2025 |  | 08/04/2025 | 07/04/2025 | 08/04/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S01 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250408_095935679_AE.jpg
3516 | 15TE 1516B | PURCHASED | P-24/054 | P-24/054-S01 | 7070000087 | 630 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF |  | AISI-316/316L | 254 | 330 | 30 | 22 | PT100 Single (4 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 24/04/2025 | SI | CÓNICA | 254 | 0 |  |  | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD | PT-100 SIMPLE 4 HILOS | [10 empty] | 02/05 | OF-01/02 | 26/02/2025 | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD |  | OF-02/02 | 26/02/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 07/04/2025 | 07/04/2025 | 07/04/2025 |  | 08/04/2025 | 07/04/2025 | 08/04/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S01 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250408_100123993_AE.jpg
529 | 15TE 1517 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 110 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1517-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1517-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 13/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085053861_HDR_AE.jpg
530 | 15TE 1518 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 120 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1518-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1518-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 14/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085131505_AE.jpg
531 | 15TE 1519 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 130 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1519-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1519-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 15/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085219531_AE.jpg
532 | 15TE 1520 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 140 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 381 | 305 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 04-11-24 CAMBIA A RATING 600# |  | V-23BLFE01A-2206-400-15TE1520-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1520-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 16/58 | OF-02 | 13/09/2024 |  |  | OF-11 | 13/09/2024 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085301216_AE.jpg
533 | 15TE 1521 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 150 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 651 | 575 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 12/11/2024 U=575MM EMAIL // CAMBIA A LONGITUD U=500 |  | V-23BLFE01A-2206-400-15TE1521-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1521-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 17/58 | OF-03 | 13/09/2024 |  |  | OF-17 | 13/09/2024 | [6 empty] | 666 | 645 | 810 | 880 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085353041_AE.jpg
534 | 15TE 1522 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 160 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1522-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1522-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 18/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085434347_AE.jpg
535 | 15TE 1524 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 170 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1524-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1524-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 19/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085516751_AE.jpg
536 | 15TE 1525 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 180 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | NO | CÓNICA | 0 | 0 |  | 11/10/24 ECI CAMBIO VELOCIDADES |  |  | V-23BLFE01A-2206-400-15TE1525-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1525-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 20/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085606638_AE.jpg
537 | 15TE 1526 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 190 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1526-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1526-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 21/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_085801894_AE.jpg
3517 | 15TE 1526A | PURCHASED | P-24/054 | P-24/054-S01 | 7070000087 | 640 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF |  | AISI-316/316L | 254 | 330 | 30 | 22 | PT100 Single (4 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 24/04/2025 | SI | CÓNICA | 254 | 0 |  |  | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD | PT-100 SIMPLE 4 HILOS | [10 empty] | 03/05 | OF-01/02 | 26/02/2025 | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD |  | OF-02/02 | 26/02/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 07/04/2025 | 07/04/2025 | 07/04/2025 |  | 08/04/2025 | 07/04/2025 | 08/04/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S01 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250408_100448125_AE.jpg
3518 | 15TE 1526B | PURCHASED | P-24/054 | P-24/054-S01 | 7070000087 | 650 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF |  | AISI-316/316L | 254 | 330 | 30 | 22 | PT100 Single (4 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 24/04/2025 | SI | CÓNICA | 254 | 0 |  |  | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD | PT-100 SIMPLE 4 HILOS | [10 empty] | 04/05 | OF-01/02 | 26/02/2025 | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD |  | OF-02/02 | 26/02/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 07/04/2025 | 07/04/2025 | 07/04/2025 |  | 08/04/2025 | 07/04/2025 | 08/04/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S01 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250408_100523058_AE.jpg
3519 | 15TE 1526C | PURCHASED | P-24/054 | P-24/054-S01 | 7070000087 | 660 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF |  | AISI-316/316L | 254 | 330 | 30 | 22 | PT100 Single (4 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 24/04/2025 | SI | CÓNICA | 254 | 0 |  |  | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD | PT-100 SIMPLE 4 HILOS | [10 empty] | 05/05 | OF-01/02 | 26/02/2025 | SUPLEMENTO UNO PT-100 SIMPLE 4 HILOS SEGÚN HH.DD |  | OF-02/02 | 26/02/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 07/04/2025 | 07/04/2025 | 07/04/2025 |  | 08/04/2025 | 07/04/2025 | 08/04/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S01 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250408_100601141_AE.jpg
538 | 15TE 1527 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 200 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1527-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1527-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 22/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090000688_AE.jpg
539 | 15TE 1528 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 210 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 457 | 381 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1528-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1528-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 23/58 | OF-02 | 13/09/2024 |  |  | OF-12 | 13/09/2024 | [6 empty] | 472 | 451 | 616 | 686 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090104257_AE.jpg
540 | 15TE 1529 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 220 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  | 04-11-24 CAMBIA RATING? | V-23BLFE01A-2206-400-15TE1529-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1529-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 24/58 | OF-02 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090148658_AE.jpg
541 | 15TE 1530A | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 230 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  | 10/09/2024 ECI EL CÁLCULO DE LA BRIDA CON PRESIÓN DE DISEÑO Y TEMPERATURA DE DISEÑO NO PASA | 04-11-24 CAMBIA A RATING 600# |  | V-23BLFE01A-2206-400-15TE1530A-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1530A-DWG-001 | APROBADO | [5 empty] | 25/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090313427_AE.jpg
542 | 15TE 1530B | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 240 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  | 10/09/2024 ECI EL CÁLCULO DE LA BRIDA CON PRESIÓN DE DISEÑO Y TEMPERATURA DE DISEÑO NO PASA | 04-11-24 CAMBIA A RATING 600# |  | V-23BLFE01A-2206-400-15TE1530B-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1530B-DWG-001 | APROBADO | [5 empty] | 26/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090441007_AE.jpg
543 | 15TE 1530C | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 250 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  | 10/09/2024 ECI EL CÁLCULO DE LA BRIDA CON PRESIÓN DE DISEÑO Y TEMPERATURA DE DISEÑO NO PASA | 04-11-24 CAMBIA A RATING 600# |  | V-23BLFE01A-2206-400-15TE1530C-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1530C-DWG-001 | APROBADO | [5 empty] | 27/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090555505_AE.jpg
544 | 15TE 1531 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 260 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 526 | 450 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | CAMBIA BRIDA A 300# / CAMBIA LONGITUD U=450 // 04-11-24 CAMBIA RATING 600# // CAMBIA A LONGITUD U=700 |  | V-23BLFE01A-2206-400-15TE1531-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1531-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 28/58 | OF-02 | 13/09/2024 |  |  | OF-14 | 13/09/2024 | [6 empty] | 541 | 520 | 685 | 755 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090736471_AE.jpg
545 | 15TE 1532 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 270 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1532-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1532-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 29/58 | OF-02 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090826054_AE.jpg
546 | 15TE 1533 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 280 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1533-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1533-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 30/58 | OF-02 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_090859339_AE.jpg
547 | 15TE 1534 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 290 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 457 | 381 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1534-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1534-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 31/58 | OF-02 | 13/09/2024 |  |  | OF-12 | 13/09/2024 | [6 empty] | 472 | 451 | 616 | 686 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091105860_AE.jpg
548 | 15TE 1536 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 300 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1536-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1536-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 32/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091142350_AE.jpg
549 | 15TE 1540 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 310 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 04-11-24 CAMBIA A RATING 600# |  | V-23BLFE01A-2206-400-15TE1540-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1540-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 33/58 | OF-01 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091220814_AE.jpg
550 | 15TE 1541 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 320 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 381 | 305 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1541-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1541-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 34/58 | OF-02 | 13/09/2024 |  |  | OF-09 | 13/09/2024 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091319764_AE.jpg
551 | 15TE 1543 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 330 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1543-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1543-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 35/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091347902_AE.jpg
552 | 15TE 1544 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 340 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1544-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1544-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 36/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091424498_AE.jpg
553 | 15TE 1550 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 350 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1550-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1550-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 37/58 | OF-02 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091500362_AE.jpg
554 | 15TE 1551 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 360 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | CAMBIA A LONGITUD U=500 | 12-11-2024 ECI REV 2 LISTO PARA SUBIR.REV 1 COM cOND DISEÑO. | V-23BLFE01A-2206-400-15TE1551-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1551-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 38/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091540717_AE.jpg
555 | 15TE 1552 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 370 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 3376 | 3300 | 32 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | ø32 X 264 mm | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1552-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1552-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 39/58 | OF-03 | 13/09/2024 |  |  | OF-20 | 13/09/2024 | [6 empty] | 3127 | 3370 | 3535 | 3615 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 03/02/2025 | 05/02/2025 | 03/02/2025 |  | 24/02/2025 | 03/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_091728714_AE.jpg
556 | 15TE 1553 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 380 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 457 | 381 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1553-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1553-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 40/58 | OF-02 | 13/09/2024 |  |  | OF-12 | 13/09/2024 | [6 empty] | 472 | 451 | 616 | 686 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092109481_AE.jpg
557 | 15TE 1554 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 390 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 457 | 381 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1554-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1554-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 41/58 | OF-02 | 13/09/2024 |  |  | OF-12 | 13/09/2024 | [6 empty] | 472 | 451 | 616 | 686 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092201598_AE.jpg
558 | 15TE 1555 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 400 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 381 | 305 | 30 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | PDE APROBACIÓN |  |  | V-23BLFE01A-2206-400-15TE1555-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1555-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 42/58 | OF-02 | 13/09/2024 |  |  | OF-10 | 13/09/2024 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092345586_AE.jpg
559 | 15TE 1557 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 410 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1557-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1557-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 43/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092433125_AE.jpg
560 | 15TE 1558 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 420 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1558-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1558-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 44/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092714562_AE.jpg
561 | 15TE 1559 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 430 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1559-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-15TE1559-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 45/58 | OF-01 | 13/09/2024 |  |  | OF-06 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092751692_AE.jpg
562 | 15TE 1560 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 440 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1560-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1560-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 46/58 | OF-02 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092822464_AE.jpg
563 | 15TE 1561 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 450 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | PT100 Single (3 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1561-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1561-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 47/58 | OF-04 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092908106_AE.jpg
564 | 15TE 1562 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 460 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | CAMBIA LONGTID U=500 |  | V-23BLFE01A-2206-400-15TE1562-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1562-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 48/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_092953067_AE.jpg
565 | 15TE 1564 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 470 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 14-11-24 ECI EN HOLD LO VAN A RECORTAR |  | V-23BLFE01A-2206-400-15TE1564-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1564-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 49/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093319227_AE.jpg
566 | 15TE 1565 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 480 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 533 | 457 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-15TE1565-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1565-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 50/58 | OF-02 | 13/09/2024 |  |  | OF-15 | 13/09/2024 | [6 empty] | 548 | 527 | 692 | 772 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093416912_AE.jpg
576 | 15TE 1566 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 580 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 457 | 381 | 30 | 22 | PT100 Single (3 wires) | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 3 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 | SI | CÓNICA | 0 | 0 |  | 11/10/24 ECI CAMBIO VELOCIDADES |  |  | V-23BLFE01A-2206-400-15TE1566-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-15TE1566-DWG-001 | COMENTARIO LONGITUD | [5 empty] | 51/58 | OF-04 | 13/09/2024 |  |  | OF-13 | 13/09/2024 | [6 empty] | 472 | 451 | 616 | 686 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093511253_AE.jpg
567 | 16TE 1501 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 490 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-16TE1501-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-16TE1501-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 52/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093559917_AE.jpg
568 | 16TE 1502 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 500 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-16TE1502-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-16TE1502-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 53/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093655511_AE.jpg
569 | 16TE 1504 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 510 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-16TE1504-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-16TE1504-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 54/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093746094_AE.jpg
570 | 16TE 1506 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 520 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 2241 | 2165 | 32 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | ø32 X 264 mm | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  | 27-11-24 NUEVO CAMBIO u2165 l2241 // 04-11-24 NUEVA U=2020mm L=2096mm |  | V-23BLFE01A-2206-400-16TE1506-CAL-001 | COMENTARIOS |  | V-23BLFE01A-2206-400-16TE1506-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 55/58 | OF-03 | 13/09/2024 |  |  | OF-19 | 13/09/2024 | [6 empty] | 1762 | 2005 | 2170 | 2250 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 03/02/2025 | 03/02/2025 | 03/02/2025 |  | 24/02/2025 | 03/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_093908556_AE.jpg
571 | 70TE 1501 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 530 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-70TE1501-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-70TE1501-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 56/58 | OF-02 | 13/09/2024 |  |  | OF-07 | 13/09/2024 | [6 empty] | 345 | 324 | 489 | 569 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_094025743_AE.jpg
3833 | 70TE 1502 | PURCHASED | P-24/054 | P-24/054-S02 | 7070000087 | 670 |  | TW+TE | Flanged TW | 1-1/2" | 600 | RF | CEPSA | AISI-316/316L | 330 | 254 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | N/A | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 30/05/2025 |  |  | 0 | 0 | [11 empty] | rev0 | 21/04/2025 |  | 01/01 | OF-01/02 | 11/04/2025 |  |  | OF-02/02 | 11/04/2025 |  |  | 284986 |  | E230125 |  | 345 | 324 | 489 | 554 | N/A | FABRICADO |  |  |  |  | 29/04/2025 | 26/05/2025 | 26/05/2025 | 26/05/2025 |  | 27/05/2025 | 26/05/2025 | 27/05/2025 | //srvad01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054-S02 - WOOD-CEPSA - ELEMENTOS TEMPERATURA/Z-Fotos Verificacion/IMG_20250527_084208861_AE.jpg
572 | 75TE 1501 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 540 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 576 | 500 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-75TE1501-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-75TE1501-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 57/58 | OF-03 | 13/09/2024 |  |  | OF-16 | 13/09/2024 | [6 empty] | 591 | 570 | 735 | 815 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 06/02/2025 | 06/02/2025 | 06/02/2025 |  | 24/02/2025 | 06/02/2025 | 24/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_094103737_AE.jpg
574 | 75TE 1504 | PURCHASED | O-24/010 | P-24/054-S00 | 7070000087 | 560 |  | TW+TE | Flanged TW | 1-1/2" | 300 | RF | CEPSA | AISI-316/316L | 381 | 305 | 24 | 22 | T/C Single Type K | AISI-316 | 6 | Ungrounded | N/A | N/A | 2 Niple + Union Nut 1/2" (CS) | 150 | EI-47-AL | 1/2"x1/2" NPT | CERAMIC BLOCK 2 WIRES | N/A | N/A | N/A | N/A | N/A |  |  | 06/02/2025 |  | CÓNICA | 0 | 0 |  |  |  |  | V-23BLFE01A-2206-400-75TE1504-CAL-001 | COMENTARIOS NO APLICAN |  | V-23BLFE01A-2206-400-75TE1504-DWG-001 | COMENTARIOS NO APLICAN | [5 empty] | 58/58 | OF-02 | 13/09/2024 |  |  | OF-09 | 13/09/2024 | [6 empty] | 396 | 375 | 540 | 620 | N.A. | FABRICADO |  |  |  |  | 24/01/2025 | 05/02/2025 | 05/02/2025 | 05/02/2025 |  | 24/02/2025 | 05/02/2025 | 17/02/2025 | //SRVAD01/base de datos de pedidos/Año 2024/2024 Pedidos/P-24-054 - WOOD-CEPSA - TEMPERATURA/Z-Fotos Verificacion/IMG_20250224_094132835_AE.jpg